Notes and To do list for paper 7

Notes on Rwandan SL

- Wiring of the system: Battery -> solar charger -> inverter -> led in Rwanda. Pheonix 241880 inverter is used at the light. The efficiency of both solar charger and inverter is 88%. Solar charger efficiency is calculated as solar charger output/ battery days when its powered during light on.

- The system was wired differently between 19th July to 6th Aug. During this period, we have data from both the battery and solar charger. Hence, the load can be calculated for the sockets and light as in case of Nepal SL. System and battery efficiency has been calculated from here.

- For all other periods, we only have data from the battery. To calculate the socket load, we use values of the AC consumption (daily avg for each month using full data days). To calculate the light load, we use the average [- system battery power] at night, subtract AC consumption from it, and multiple the value by 88%*88% to factor in efficiency of the solar charger and inverter (see wiring in point 1). – system battery power is same as discharged energy – when light is on the value of discharged energy should be >20-30W.

- Light load should be similar to 6 hours*100W + 6 hours*50W = 900W

- Battery capacity at max – 24V(12V*2) and 3kWh(1.5*2)

- Battery SoC values are incorrect. Use battery power/voltage instead. Battery power is cut off at voltage below 18V (9V*2).

- Total load = IF(BP<0, BP, 0) - (IF(BW>0, BW,0) - (IF(BP>0,BP,0)))

- System and socket load - 6:30am to 5:30 pm (check for all SL3) - for plots - total load between these hours – Check system battery power for light on or off

- Wiring was different between 19th July to 6th Aug. During this period use load formulas as in Nepal. For others, use the new load formula

- Inverter on the sockets was installed on 19th July

- Daily total load = [+solar charger battery power]

- SL area = 1.94, Efficiency = 16.49%

To do list for paper 7

- Lit review - 1st para - why we get missing data (3-4 refs). (power outages, communication failures, component, data may be incomplete.) 2nd para - how other have handled missing data (PV, wind). 3rd para - the issues we have and how we are going to handle missing data

- SL modelling in R

Summary of literature review of data imputation techniques for time series data

- We either have completely missing days or partial missing days. Missing data can be labelled as MCAR (Missingness is independent from characteristics of either the observed data or the unobserved values in the data set) or MAR (Missingness is entirely explained by the observed data, that is, after observed values are accounted for, missingness is randomly distributed). MCAR would be due to failures in the system or any other external reason whereas MAR would be owing to power outages and can be determined by battery power last recorded on a partially missing day and time of day.

- We have already seen the effect of dropping missing data. It creates a bias in the analysis as we miss all data from a power outage when system battery recharges resulting in a battery efficiency of 120%. Hence, data imputation is necessary for reliable analysis.

- Various methods have been proposed for data imputation for time series data. The basic approaches use hot deck imputation i.e. handling missing data by replacing NA with observed response from a similar unit (measure of similarity). Differnt hot decking imputation can be used - mean imputation (simple to implement and maintains the mean of the signal, however ignores the correlation between feature variables – makes most sense if signal follows a normal distribution), kNN (looks only at a single column where missing value is - not well suited for estimating measures of association – using kNN across variables may be useful), sequential hot deck (replaces with the integer value of the last observed value – may serve well in imputing missing values at the end of the day till 6am when charging starts – not post that).

- Alternative approaches use multiple imputation using chained equations. Some random variation is introduced into the data set and several imputed data sets are generated. After that, those data sets are used for problem analysis and finally the combination of the results into a single set of parameter estimates, standard errors and test statistics is made.

- More complex machine Learning techniques have also been used for imputation. Regression looks at correlation between different feature variables to model the behaviour. Random forest imputation is a powerful technique that handles mixed data types and address interactions and nonlinearity. Three different RF based approaches have been proposed - proximity imputation (randomForest/randomForestSRC), on-the-fly imputation (randomSurvivalForest/randomForestSRC) and missForest.

- Finally, time series modelling is used for imputing data in time series data. The seasonal decomposition (Seas) approach removes the seasonal component from the time series, performs imputation on the deseasonalized series and afterwards adds the seasonal component again - function in R is na_seadec() - algorithm to be used after decomposition can include (mean value, random sample, interpolation, Last Observed Carried Forward, Kalman Smoothing and State Space Models, Weighted Moving Average). Alternatively, creating an ARIMA (Auto regressive Intergrated Moving Average) model of the data can be used to build a forecasting method and used for short term imputation.

Steps to data imputation using different techniques in R

- Add battery voltage

- Convert data into hourly means – add NA for all missing hours/days

- Add Potential PV data. Compare the Potential PV data to clearskymodel and meteoForecast (uses numerical weather prediction)

- Summary(data) to see what’s missing. Get % data missing for each variable (differs for AC consumption) using p <- function(x) {sum(is.na(x)/length(x)*100}; apply(data,2,p); 2 is for columns.

- Use md.pattern(df) to visualise missing data pattern

- Get number of rows where NA values are a certain proportion of explanatory variables: e.g. rows where more than 20% columns are missing: manyNAs(df,0.2) - these rows can be deleted using df<- df[-manyNas(df,0.2)]

- Plot time series data – hourly data and check for trend, seasonality; plot variables against each other to check for correlation; plot correlation between weather data, actual PV power and battery power; If seasonality and trend seen in data, try using na_seadec.

- Plot discharged energy (-ve battery power) box plots. This value at night shows the light load given AC consumption is 0.

- Try imputation using na_seadec since seasonality is found in the time series data

- Fill in using correlation/regression: see correlation between explanatory variables - using a regression model

  - symnum(cor(df[,4:18], use=“complete.obs))

  - Lets say columns x and y are highly correlated, then: lm(x~y, data=df) to get slope and intercept; use the eq to fill in

- Fill in using kNNImputation

  - Fill in using similarities between 2 samples (rows): using Euclidean distance - kNN (uses weighted avg of the neighbours)

    - Library(VIM) has kNN function for imputation; kNN(df, variable=c(columns), k=K); for all columns do not specify variable; K by default is 5

    - Alternatively, df <- knnImputation(df, k=10) - by default weighted avg is taken of 10 nearest neighbours

    - Alternatively, other statistic can be used as knnImputation(df, k=10, meth=“median”)

  - kNN in a multi-dimensional space - hot deck imputation

    - require(HotDeckImputation)

    - df_NN <- as.matrix(df)

    - df_NN <- impute.NN_HD(df, distance=“eukl)

    - Check for how many NA left: sum(is.na(df_NN))

    - ?impute.NNA_HD

- Fill in using Sequential hot deck - impute.SEQ_HD(as.matrix(df))

- MICE in R:

  - library(mice)

  - library(VIM) - for graphics

  - fit <- mice(df[,columns used for prediction]) #default uses mean ;

  - print(impute) - gives methods used for prediction - for numeric it is predictive mean matching, for categories it is polyreg

  - Get an imputed column: fit$imp$col shows the imputed values for the col in all rows it was missing for all imputations

  - Get complete dataset: new data <- head(complete(fit)) - first imputed; head(complete(fit,2)) - second imputed

  - Distribution of observed and imputed values: stripplot(impute, pch=20, cex=1.2); xyplot(fit, x~y | .imp, pch=20, cex=1.4)

- Random Forest Imputation in R – TRY PROXIMITY IMPUTATION

  - library(stats)

  - Library(randomForest)

  - Since we random sample things, we set seed to reproduce results: set.seed(42)

  - Data.imputed <- rfImpute(colName ~ . , data=df, iter=6) ; item gives number of random forests we generate

    - If estimates are improving, OOB error rate should be reducing, if not we have reached the optimal values

  - model <- randomForest(colName ~ . , data=data.imputed, ntree=500, mtry=3, proximity=TRUE); model

    - model will give the summary of the random forest model

    - Can be used for classification, regression and unsupervised learning

    - Plot the error rates: oob.error.data <- data.frame(trees=rep(1:nrow(model$err.rate), times=3), typeofError=rep(c(“OOB”,”Healthy”,”Unhealthy”), each=nrow(model$err.rate)), error=c(model$err.rate[,”OOB], model$err.rate[,”Healthy”], model$err.rate[,”Unhealthy”]))

    - ggplot(oob.error.data,aes(trees, error)) + geom_line(aes(color=type))

    - Check if performance improves if ntree is increased

    - Check if performance improves if mtry is changed - number of trees at each node

      - for(I in 1:10) { temp.model <- randomForest(hd~., data=data.imputed, mtry=I, ntree=1000); oob.values[i  <- temp.model$err.rate[nrow(temp.model$err.rate),1]}

      - oob.values -> look for lowest value that is the optimal

- Time series modelling using ARIMA if nothing else works

- After hourly means have these variables add variables for + battery power, - negative battery power, + solar charger battery power, - solar charger battery power

SL modelling – Jonathan’s notes

- Actual load for full data days

- Actual end load/output (light + socket after inverter). Inverter spec eff. (88%) + (- solar charger battery/-battery power - 88%)
- extra column full data day socket monthly daily average
- battery power x .88 x.88 (when socket is zero).

- Add Capture losses for when data is missing (new Column).

- Total load demand (total socket demand/total light demand). Moving average, time series?

- Model each day if we have a capacity shortage or capture loss per day, to get the monthly daily average for capture loss and capacity shortage

- Test model on existing data and missing data, comparison with full data data (1-3).

SL modelling – Kriti’s notes

- Once the imputation is complete, analyse the data as below.

- Separate data into 2 subsets – 19th July to 6th aug and the rest. Calculate the load as described in the notes section. See the load current value during this time to calculate the laod value.

- Full data days: actual total load from our system

- Full data days with predicted light and socket load

  - Total load - system and socket load - inverter loss = light load

  - 19th July to 6th aug - at night time we had battery and solar charger load - system and battery inefficiency from there to get light load

- Capture loss for when all the data is missing - this is what the irradiance is - all data is power outage therefore capture loss - all days in a month - monthly avg of capture loss; full days + missing days and then avg

- Total load demand (total socket and total light demand) - by filling in missing data what would light and socket want to do;

- 7 days in a row - battery power at the end of the day - each day what happens by midnight - start and end of day; battery power - fill in values; Now missing data can be for 4 reasons - identify when it is due to power outage based on irradiance and battery power values to call it capacity shortage; Then calculate the capacity shortage - After all the cleaning - Missing data needs to get the state of the battery - when battery is not charged and it is cloudy no capture loss; when battery draining but it cuts off and there is still demand that implies capacity shortage; Now day 2, there is sun and battery charges and regular usage - sum up capacity shortage and capture loss to get total monthly and take a daily avg

- Go back to a SL which has a lot of data - remove some data and use your model to see how well it fits! Check with full data days.

- Summarise data in a table containing irradiance, potential PV power, actual PV power, total load, system loss, capture loss throughout the day – daily avg from full data days

- column of what light load should be -

- positive battery and negative battery

- paper on evaluation

- mpute data on all demand, define power outage and then predict actual values

- inverter looks at Battery level - if too low then it cuts off socket usage

- use perf metric to fill in all

- hourly data:

- actual PV power

- battery charge power and discharge power

- light load and socket laod

- Light demand - based on previous days

- light demand would be based on regression but light actual would depend on bat+ bat-; if battery not discharging

- means demand was there but no supply

- same for the socket demand and actual

- use voltage to model soc - check last link from jonathan; but volt is also affected by temp

- we have 3.1kWh battery capacity - addition and subtraction in battery; then correlate with voltage

- see what u add remive each day - cut off at 15%